|  |  |  |
| --- | --- | --- |
| Site | Description  | Actions  |
| Aintree Road | Highway Flooding  | Investigated and cleaned – Due to volume of water received  |
| Waverly Close | Highway Flooding | Investigated and cleaned – Due to volume of water received  |
| Seaton Road | Highway Flooding | Investigated and cleaned – Due to volume of water received  |
| Taverners Road  | Highway Flooding | Investigated and cleaned – Due to volume of water received  |
| Brenchley Close | Highway and Garden Flooding | Investigated and cleaned – Due to volume of water received  |
| Thompson Close | Highway Flooding | Investigated and cleaned – Due to volume of water received  |
| Wilson and Haig Avenue | Highway and Internal Flooding  | Investigated, Cleaned and Council have undertaken formal investigation  |
| Bond Road | Internal Flooding  | Council undertaking feasibility as previously flooded  |
| Pine Grove | Internal Flooding | Investigated and cleaned – Due to volume of water received  |
| Deanwood Drive/ Lovelace Close | Highway Flooding Lifted Manholes | Investigated and cleaned – Due to volume of water received  |
| Bredhurst Road, Gillingham | Highway Flooding Lifted Manholes | Investigated and cleaned – Due to volume of water received  |
| Maidstone Road/ Asquith Road | Highway Flooding Lifted Manholes | Investigated and cleaned – Due to volume of water received  |
| Scotby Avenue  | Highway Flooding | Investigated and cleaned – Due to volume of water received  |
| Findley Close | Internal Flooding  | To be investigated |
| Campleshon Road | Highway Flooding  | Investigated and cleaned – Due to volume of water received  |
| Tadwell Road | Highway and Internal Flooding | Investigated and cleaned – Due to volume of water received  |
| Parker Close | Highway Flooding | Investigated and cleaned – Due to volume of water received  |
| Cherry Tree Road | Highway and Internal Flooding  | Investigated, cleaned and Council will undertake formal investigation |
| Walderslade Road | Highway Flooding | Investigated and cleaned – Due to volume of water received  |
| Wheatcroft Grove | Internal Flooding | To be investigated |
| Taswell Close  | Highway Flooding | Investigated and cleaned – Due to volume of water received  |
| Solomon Road  | Highway and Internal Flooding | Investigated and cleaned – Due to volume of water received  |
| Prince Charles Avenue | Highway Flooding | Investigated and cleaned – Due to volume of water received  |
| Street End Way, Brambledown  | Highway Flooding | Investigated and cleaned – Due to volume of water received  |
| Barrington Close  | Highway Flooding | Investigated and cleaned – Due to volume of water received  |
| Churchill Avenue | Highway Flooding | Investigated and cleaned – Due to volume of water received  |
| Nelson Terrace  | Internal Flooding  | Council undertaking feasibility as previously flooded |
| Scott Avenue  | Highway Flooding  | Investigated and cleaned – Due to volume of water received  |
| Mierscourt Road | Highway and Internal Flooding | Investigated and cleaned – Due to volume of water received  |
| Silver Spot Close | Highway and Internal Flooding | Investigated and cleaned – Due to volume of water received  |
| Harvester Close | Highway and Internal Flooding | Investigated and cleaned – Due to volume of water received  |
| Lonsdale Drive | Highway and Internal Flooding | Investigated and cleaned – Due to volume of water received  |