|  |  |  |
| --- | --- | --- |
| Site | Description  | Actions  |
| Old Fire Station  | Highway and Internal Flooding  | Investigated and cleaned – Due to volume of water received  |
| Rochester Esplanade | Highway Flooding  | Investigated– Due to volume of water received  |
| St Micheals School | Internal Flooding  | To be investigated  |
| Weighbridge  | Highway Flooding  | To be investigated by Highways  |
| Globe Lane | Highway Flooding  | Investigated and cleaned – Due to volume of water received  |
| City Way  | Highway and Internal Flooding  | Previously Investigated – Highways Currently investigating |
| Dale Street | Internal Flooding | Basement Flooding – Duty Engineer attended  |
| Central Theatre | Internal Flooding | Issues due to Roof Drainage and volume of water received  |
| Wilson Avenue | Highway Flooding  | Investigated and cleaned – Due to volume of water received  |
| Longley Road  | Highway Flooding  | Investigated and cleaned – Due to volume of water received  |
| Pentagon Shopping Centre  | Internal Flooding  | Issues with Surrounding Drainage and Volume of water received  |
| Brook Theatre  | Internal Flooding  | Basement flooding – Southern Water attended and repaired existing pump |
| High Street, Chatham | External and Internal Flooding  | Investigated and cleaned – Due to volume of water received  |
| Chatham Library  | Internal Flooding  | Investigated and cleaned - Issues with onsite drainage  |
| Pattens Lane | Highway Flooding  | Investigated and cleaned – Due to volume of water received  |
| Robin Hood Lane | Highway Flooding  | Investigated and cleaned – Due to volume of water received  |
| Admirals Walk  | Highway Flooding | Investigated and cleaned – Due to volume of water received  |
| Beechings Road | Highway Flooding | Investigated and cleaned – Due to volume of water received  |