|  |  |  |
| --- | --- | --- |
| Site | Description | Actions |
| Old Fire Station | Highway and Internal Flooding | Investigated and cleaned – Due to volume of water received |
| Rochester Esplanade | Highway Flooding | Investigated– Due to volume of water received |
| St Micheals School | Internal Flooding | To be investigated |
| Weighbridge | Highway Flooding | To be investigated by Highways |
| Globe Lane | Highway Flooding | Investigated and cleaned – Due to volume of water received |
| City Way | Highway and Internal Flooding | Previously Investigated – Highways Currently investigating |
| Dale Street | Internal Flooding | Basement Flooding – Duty Engineer attended |
| Central Theatre | Internal Flooding | Issues due to Roof Drainage and volume of water received |
| Wilson Avenue | Highway Flooding | Investigated and cleaned – Due to volume of water received |
| Longley Road | Highway Flooding | Investigated and cleaned – Due to volume of water received |
| Pentagon Shopping Centre | Internal Flooding | Issues with Surrounding Drainage and Volume of water received |
| Brook Theatre | Internal Flooding | Basement flooding – Southern Water attended and repaired existing pump |
| High Street, Chatham | External and Internal Flooding | Investigated and cleaned – Due to volume of water received |
| Chatham Library | Internal Flooding | Investigated and cleaned - Issues with onsite drainage |
| Pattens Lane | Highway Flooding | Investigated and cleaned – Due to volume of water received |
| Robin Hood Lane | Highway Flooding | Investigated and cleaned – Due to volume of water received |
| Admirals Walk | Highway Flooding | Investigated and cleaned – Due to volume of water received |
| Beechings Road | Highway Flooding | Investigated and cleaned – Due to volume of water received |